## Slide 1: Proficiency PT program overview EQEP El Salvador
MINISTRY OF HEALTH
ITS/VIH PROGRAM UNIT
CLINICAL LABORATORY OFFICE
AUGUST 2024

## Slide 2
DTS= Dry Tube Sample
EQEP Reference Laboratories
Decentralized 5 Health Regions
DSS= Dialyzed Serum Sample
Public Health Surveillance Laboratory LVSP
SAMPLES USED FOR EXTERNAL QUALITY EVALUATION PROGRAM PEEC EL SALVADOR AS OF JUNE 2019

## Slide 3
6.- Registration
1.- Call for decentralized EQEP establishments (11 days)
2.- LVSP raw material request
Logistics and request for supplies and materials to be used.
4.- Update and Define SNIS network
5.- Evaluation criteria, percentages and timeframes
7.- Panel production workshop trained personnel
8.- Delivery of CTRLC panels 5 health regions (Distribution to each facility)
9.- Processing of panels by local levels
10.Sending and receiving results from the local levels to CTRLC 5 regions and these to the decentralized establishments.
11.- Evaluation of results and preparation of feedback report
12.- Satisfaction survey
13.Follow-up and feedback from decentralized facilities and CTRLCs 5 health regions and UITS/HIV supervision team.
14.- Analysis and systematization of data and improvement projects
EXTERNAL QUALITY EVALUATION PROGRAM CYCLE EQEP EL SALVADOR

## Slide 4
Rosales National Hospital, Metropolitan Health Region.
San Rafael National Hospital, Central Health Region.
National Hospital of Zacatecoluca, Paracentral Health Region.
Dr. Jorge Mazzini National Hospital of Sonsonate, Western Health Region.
San Juan de Dios de San Miguel National Hospital, Eastern Health Region.
DECENTRALIZED ESTABLISHMENTS EXTERNAL QUALITY EVALUATION PROGRAM EQEP EL SALVADOR

## Slide 5
HIV and
Syphilis
HIV, Syphilis, Hepatitis B, Hepatitis C
HIV, Syphilis, Hepatitis B, Hepatitis C
HIV, Syphilis, HIV/Syphilis Duals Hepatitis B, Hepatitis C
HIV, Syphilis, HIV/Syphilis Duals Hepatitis B, Hepatitis C
HIV, Syphilis, HIV/Syphilis Duals Hepatitis B, Hepatitis C, Cryptococcus
DIAGNOSTIC TESTS OF THE EXTERNAL QUALITY EVALUATION PROGRAM PEEC EL SALVADOR FROM 2019 TO 2024

## Slide 7
PEEC MST EL SALVADOR

## Slide 8
EQEP DTS EL SALVADOR

## Slide 9
EQEP EL SALVADOR